DISABLE TERMINATOR ON HY-TTC94

TERMINATOR RESISTORS ONLY ON THE ENDS OF THE BUS

Node ID:12

Node ID:11

Node ID:10

UNIQUE NODE ID’S FOR EACH DEVICE

HY-TTC94

Keypad

IFM PLC

CAN LOW

CAN HIGH

120 ohm

120 ohm